## Table 1
Title Drg.No 5208 E | "0" Revision DTS S.Dt C. Dt Status | "A" Revision DTS S.Dt C. Dt Status | "B" Revision DTS S.Dt C. Dt Status | "C" Revision DTS S.Dt C. Dt Status | "D" Revision DTS S.Dt C. Dt Status | "E" Revision DTS S.Dt C. Dt Status | "F" Revision DTS S.Dt C. Dt Status

## Table 2
01-132kV GIS
132KV GIS - TYPE TEST REPORTS A 7110 L 001 | 0119 27/05/2008 17/11/2008 AEN | 0552 27/11/2008 24/12/2008 AP
132KV GIS - MANUFACTURER QA/QC PLAN A 7110 L 002 | 0131 07/06/2008 24/06/2008 NA | 0448 23/10/2008 06/01/2009 AP
132KV GIS - SITE ACCEPTANCE TEST PROCEDURE A 7110 L 036 | 2314 08/02/2010 22/04/2010 AEN | 2726 07/06/2010 15/07/2010 AP
132KV GIS- PHILOSOPHY OF DC POWER SUPPLY FOR LCC (TYPICAL) A 7110 T 037 | 0419 11/10/2008 27/01/2009 AEN | 1525 02/06/2009 14/07/2009 AP | 1771 28/07/2009 23/09/2009 AP
132KV GIS - INSTALLATION MANUAL Z 7110 T 184 | 1857 30/08/2009 29/09/2009 AEN | 2200 27/12/2009 12/01/2010 AP
02-OHT CRANE & HOIST
OHT CRANE - INSTALLATION AND COMMISSIONING PROCEDURE A 3100 L 057 | 1604 17/06/2009 24/06/2009 RET | 1958 04/10/2009 17/11/2009 AP
OHT CRANE - FACTORY ACCEPTANCE TEST PROCEDURE FOR RAHA A, E40 & W41 S/S A 3100 H 058 | 1600 15/06/2009 12/07/2009 NA
THIRD PARTY AGENCY APPROVAL FOR CRANE LOAD TESTING - MAKE : M/S.LLOYDS BRITISH A 3100 L 062 TESTING LTD, DUBAI | 2232 11/01/2010 01/03/2010 NA | 2391 03/03/2010 28/03/2010 AEN | 2503 29/03/2010 09/05/2010 AP
03-132kV CABLES
132KV CABLES - TECHNICAL DATA SHEET FOR 132KV XLPE, CU CABLE A 7510 L 068 | 0923 10/02/2009 20/04/2009 FI
132KV CABLES - SITE ACCEPTANCE TEST PROCEDURE A 7510 L 074 | 2002 27/10/2009 17/11/2009 AEN | 2385 01/03/2010 25/03/2010 AP
132KV CABLES - DRY TYPE PLUG IN TRANSFORMER CABLE TERMINATION KIT FOR A 7510 L 075 800SQ.MM XLPE CABLE | 0694 29/12/2008 25/02/2009 AEN | 2305 09/02/2010 15/03/2010 RET | 2450 16/03/2010 04/04/2010 AP
132KV CABLES - DRY TYPE PLUG IN SWITCHGEAR CABLE TERMINATION KIT FOR 800SQ.MM XLPE A 7510 L 076 CABLE | 0695 29/12/2008 25/02/2009 AEN | 2305 09/02/2010 15/03/2010 RET | 2450 16/03/2010 04/04/2010 AP
TECHNICAL SUBMITTAL OF 132KV CABLE SEALING ENDS Z 7510 Z 181 | 0696 29/12/2008 25/02/2009 AEN | 2304 09/02/2010 14/04/2010 AP
04-132/23KV 63/80 MVA POWER TRANSFORMER
SITE ACCEPTANCE TEST PROCEDURE / METHOD STATEMENT FOR FREQUENCY RESPONSE A 7320 L 136 ANASYSIS TEST OF POWER TRANSFORMER | 2117 07/12/2009 10/01/2010 AEN | 2509 31/03/2010 11/04/2010 AP
07-400V LVAC - TRANSCO
SITE ACCEPTANCE TEST PROCEDURE FOR LVAC PANEL ( TRANSCO ) Z 7810 L 149 | 1885 09/09/2009 05/10/2009 AP
400V LVAC - TYPE TEST REPORT A 7810 L 171 | 2332 14/02/2010 22/04/2010 AP

## Table 3
22KV FAULT MONITORING SYSTEM DAU PANELS - 1 & 2 GENERAL ARRANGEMENT A 8690 Q 876 | 0990 18/02/2009 10/03/2009 AEN | 1211 02/04/2009 18/04/2009 AP
TECHNICAL SUBMITTAL FOR 11KV/22KV FMS DAU PANEL Z 8690 L 878 | 1240 07/04/2009 28/04/2009 AEN
21-132KV RELAY PANELS
TECHNICAL SUBMITTAL OF 132KV ( TRANSCO ) PROTECTION RELAYS - SIEMENS Z 9200 Z 182 | 1371 05/05/2009 04/06/2009 AEN | 1608 17/06/2009 21/07/2009 AEN | 1889 12/09/2009 21/02/2010 AEN
SITE ACCEPTANCE TEST PROCEDURE FOR AUXILIARY RELAY - TRANSCO Z 9200 L 186 | 1903 16/09/2009 23/11/2009 AP
SETTING RECOMMENDATION FOR COMMON SYNCHROCHECK RELAY (REC670) A 9200 J 247 | 2743 17/06/2010 07/07/2010 AP
SITE ACCEPTANCE TEST PROCEDURE OF LINE DIFFERENTIAL PROTECTION RELAY - MAIN 2 ( RED A 9200 L 351 670 ) & TRANSFORMER DIFFERENTIAL PROTECTION RELAY ( RET 670 ) - ABB SWEDEN | 2082 24/11/2009 03/01/2010 AEN | 2225 06/01/2010 04/02/2010 AP
132KV RELAY PANEL - FACTORY ACCEPTANCE TEST PROCEDURE OF REC 670 RELAY - ( ABB - A 9200 L 352 SWEDEN ) | 1523 01/06/2009 14/07/2009 AP
SITE ACCEPTANCE TEST PROCEDURE OF REX 521 RELAYS - TRANSCO ( ABB - FINLAND ) A 9200 L 354 | 2013 01/11/2009 25/11/2009 AEN | 2104 03/12/2009 03/01/2010 AP
FACTORY ACCEPTANCE TEST REPORT FOR RED 670 AND RET 670 MAIN PROTECTION RELAYS - Z 9200 H 366 M/S. ABB SWEDEN | 1907 17/09/2009 23/11/2009 AP
SITE ACCEPTANCE TEST PROCEDURE/FORMAT FOR MAIN -1 LINE DIFFERENTIAL RELAY ( 7SD52 ) A 9200 L 367 | 2001 27/10/2009 25/11/2009 AEN | 2212 30/12/2009 18/01/2010 AP
132KV RELAY PANEL - GENERAL ARRANGEMENT OF CABLE FEEDER ( E04+R1 & E04+R2 ) A 9200 Q 368 | 0928 09/02/2009 10/03/2009 AEN | 1209 02/04/2009 05/05/2009 AEN | 1626 23/06/2009 14/07/2009 AP
132KV RELAY PANEL - GENERAL ARRANGEMENT OF 132/22KV TRANSFORMER -1 FEEDER ( E02+R1 A 9200 Q 369 & E02+R2 ) | 0928 09/02/2009 10/03/2009 AEN | 1209 02/04/2009 05/05/2009 AEN | 1626 23/06/2009 14/07/2009 AP
132KV RELAY PANEL - GENERAL ARRANGEMENT OF BUS COUPLER ( E07+R1 ) A 9200 Q 370 | 0928 09/02/2009 10/03/2009 AEN | 1209 02/04/2009 05/05/2009 AEN | 1626 23/06/2009 14/07/2009 AP
132KV RELAY PANEL - GENERAL ARRANGEMENT OF BUS SECTION ( E06+R1 ) A 9200 Q 371 | 0928 09/02/2009 10/03/2009 AEN | 1209 02/04/2009 05/05/2009 AEN | 1626 23/06/2009 14/07/2009 AP
132KV RELAY PANEL - SITE ACCEPTANCE TEST PROCEDURE FOR SYNCROCHECK RELAY (REC 670) B 9200 L 379 | 2256 19/01/2010 16/02/2010 NA | 2355 21/02/2010 14/03/2010 AP
FACTORY ACCEPTANCE TEST PROCEDURE FOR 132KV CONVERTER PANEL ( W+C01 ) A 9200 L 379 | 2797 14/07/2010 05/08/2010 AEN | 2881 20/09/2010 2 SUB
132KV RELAY PANEL - FACTORY ACCEPTANCE TEST PROCEDURE OF RED 670, REL 670 & RET 670 Z 9200 L 380 MAIN RELAYS - ( ABB - SWEDEN ) | 1289 16/04/2009 02/05/2009 RET
FACTORY ACCEPTANCE TEST PROCEDURE FOR PROTECTION RELAYS REX 521 AND SPAF 340C - ( B 9200 L 381 M/S.ABB - FINLAND ) | 1380 06/05/2009 21/05/2009 AP

## Table 4
FACTORY ACCEPTANCE TEST PROCEDURE FOR 132KV PROTECTION PANELS A 9200 L 381 | 2074 22/11/2009 05/01/2010 AEN | 2327 11/02/2010 01/03/2010 AP
132KV RELAY PANEL - GENERAL ARRANGEMENT OF CABLE FEEDER ( E11+R1 & E11+R2 ) A 9200 Q 386 | 0928 09/02/2009 10/03/2009 AEN | 1209 02/04/2009 05/05/2009 AEN | 1626 23/06/2009 14/07/2009 AP
TECHNICAL SUBMITTAL FOR 132KV & LVAC (TRANSCO) MAIN PROTECTION RELAYS - ABB A 9200 L 388 | 0942 14/02/2009 01/03/2009 AEN | 1155 25/03/2009 04/05/2009 AEN | 1376 05/05/2009 21/05/2009 AP
TECHNICAL SUBMITTAL FOR 132KV PROTECTION PANEL Z 9200 L 390 | 1238 07/04/2009 05/05/2009 AEN | 1455 20/05/2009 04/06/2009 AEN
132KV INTERFACE CUBICLE FACTORY ACCPTANCE TEST REPORT A 9200 H 474 | 2560 15/04/2010 05/05/2010 AEN
FACTORY ACCEPTANCE TEST PROCEDURE OF RED670 AND RET670 MAIN RELAYS - ABB SWEDEN A 9200 L 881 | 1271 14/04/2009 17/05/2009 NA | 1459 27/05/2009 01/06/2009 RET | 1527 02/06/2009 14/07/2009 AP
22-132KV BBP/BFP PANELS
132KV BBP/BFR PANEL - TECHNICAL DATA SHEETS A 9200 L 392 | 2518 31/03/2010 14/04/2010 AEN | 2565 19/04/2010 05/05/2010 AEN | 2653 20/05/2010 09/06/2010 AP
24-TELECOM SYSTEM
TELECOMMUNICATION SYSTEM - SYSTEM DESCRIPTION Z 7900 L 413 | 0348 10/09/2008 23/10/2008 NA | 0998 22/02/2009 23/04/2009 AP | 1862 31/08/2009 06/09/2009 RET | 1924 23/09/2009 28/10/2009 AEN | 2172 21/12/2009 18/01/2010 AP
TELECOMMUNICATION SYSTEM - SYSTEM LAYOUT Z 7900 Q 414 | 0348 10/09/2008 23/10/2008 NA | 0998 22/02/2009 23/04/2009 AEN | 1862 31/08/2009 06/09/2009 RET | 1924 23/09/2009 28/10/2009 AEN | 2172 21/12/2009 18/01/2010 AP
TELECOMMUNICATION SYSTEM - INTEGRATION IN THE EXISTING NETWORK Z 7900 R 415 | 0348 10/09/2008 23/10/2008 AEN | 0998 22/02/2009 23/04/2009 AP | 1862 31/08/2009 06/09/2009 RET | 1924 23/09/2009 28/10/2009 AEN | 2172 21/12/2009 18/01/2010 AP
TELECOMMUNICATION SYSTEM - STATION AND EQUIPMENT DRAWINGS Z 7900 R 416 | 0348 10/09/2008 23/10/2008 AEN | 0998 22/02/2009 23/04/2009 AEN | 1862 31/08/2009 06/09/2009 RET | 1924 23/09/2009 28/10/2009 AEN | 2172 21/12/2009 18/01/2010 AP
TELECOMMUNICATION SYSTEM - TELECOM EQUIPMENT LIST Z 7900 R 417 | 0348 10/09/2008 23/10/2008 AEN | 0998 22/02/2009 23/04/2009 AEN | 1862 31/08/2009 06/09/2009 RET | 1924 23/09/2009 28/10/2009 AEN | 2172 21/12/2009 18/01/2010 AP
TELECOMMUNICATION SYSTEM -TECHNICAL DATA Z 7900 L 418 | 0348 10/09/2008 23/10/2008 AEN | 0998 22/02/2009 23/04/2009 AP | 1862 31/08/2009 06/09/2009 RET | 1924 23/09/2009 28/10/2009 AEN | 2172 21/12/2009 18/01/2010 AP
TELECOMMUNICATION SYSTEM - FACTORY ACCEPTANCE TEST PROCEDURE A 7900 L 419 | 2272 25/01/2010 07/02/2010 AEN | 2474 20/03/2010 20/04/2010 AEN | 2613 06/05/2010 25/05/2010 AP
TELECOMMUNICATION SYSTEM - SITE ACCEPTANCE TEST PROCEDURE / FORMAT A 7900 L 421 | 2588 26/04/2010 25/05/2010 AEN
25-EARTHING & LIGHTNING PROTECTION
EARTHING PROTECTION - FIELD TEST PROCEDURE AND FORMAT FOR EARTHING SYSTEM Z 7820 L 436 | 0772 11/01/2009 25/03/2009 AEN | 1545 06/06/2009 13/07/2009 AP
EARTHING PROTECTION - METHOD STATEMENT FOR INSTALLATION OF MAIN EARTH MAT Z 7820 L 439 | 0450 23/10/2008 01/11/2008 AEN | 0599 14/12/2008 20/01/2009 AP