## Estimate Statement
Project: | [13 empty] | Summary | Amount
Project Location: | [13 empty] | TOTAL COST | 472101.4055
Date: |  |  | 2023-04-26
Sr# | Drawing Ref. | Sub- Division Codes | Description | Quantity | Wastage | Qty. With Wastage | UOM | Unit Material Cost | Total Material Cost | Unit Labor Hrs. | Cost/Hr | Manhours | Total Labor Cost | TOTAL ITEM COST | TOTAL TRADE COST
|  |  | DIV.02 EXISTING CONDITIONS | [11 empty] | 5993.6
[13 empty] | Labor/Hour | 80
| P061 P062 P063 P064 | 02 41 00 | DEMOLITION OF EXISTING ITEMS
1 |  |  | Contractor To Remove Existing Lavatories And Existing Water Closets With All Associated Waste, Vent And Water Supply Piping Back To Active Source. Contractor To Cut And Cap At Point Of Disconnection To Avoid Creating Any Dead Ends. | 14 | 0% | 14 | EA | 0 | 0 | 2 | 80 | 28 | 2240 | 2240
2 |  |  | Contractor To Remove Existing Lavatories, Urinals And Existing Water Closets With All Associated Waste, Vent And Water Supply Piping Back To Active Source. Contractor To Cut And Cap At Point Of Disconnection To Avoid Creating Any Dead Ends. | 9 | 0% | 9 | EA | 0 | 0 | 2 | 80 | 18 | 1440 | 1440
3 |  |  | Contractor To Remove Existing Lavatory With All Associated Waste, Vent And Water Supply Piping Back To Active Source. Contractor To Cut And Cap At Point Of Disconnection To Avoid Creating Any Dead Ends. | 1 | 0% | 1 | EA | 0 | 0 | 2 | 80 | 2 | 160 | 160
4 |  |  | Contractor To Remove Existing Sink With All Associated Waste, Vent And Water Supply Piping Back To Active Source. Contractor To Cut And Cap At Point Of Disconnection To Avoid Creating Any Dead Ends. | 1 | 0% | 1 | EA | 0 | 0 | 1.87 | 80 | 1.87 | 149.6 | 149.6
5 |  |  | Contractor To Remove Existing Urinals And Existing Water Closet With All Associated Waste, Vent And Water Supply Piping Back To Active Source. Contractor To Cut And Cap At Point Of Disconnection To Avoid Creating Any Dead Ends. | 3 | 0% | 3 | EA | 0 | 0 | 1.5 | 80 | 4.5 | 360 | 360
6 |  |  | Contractor To Remove Existing Water Closets With All Associated Waste, Vent And Water Supply Piping Back To Active Source. Contractor To Cut And Cap At Point Of Disconnection To Avoid Creating Any Dead Ends | 2 | 0% | 2 | EA | 0 | 0 | 2 | 80 | 4 | 320 | 320
7 |  |  | Existing Classroom Sink To Be Removed And Replaced With New. Contractor To Modify Existing Roughing To Accommodate The Installation Of New Classroom Sink | 3 | 0% | 3 | EA | 0 | 0 | 1.87 | 80 | 5.61 | 448.8 | 448.8
8 |  |  | Existing Classroom Sinks To Be Removed And Replaced With New. Contractor To Modify Existing Roughing To Accommodate The Installation Of New Classroom Sinks | 2 | 0% | 2 | EA | 0 | 0 | 1.87 | 80 | 3.74 | 299.2 | 299.2
9 |  |  | Existing Nurse Sinks To Be Removed And Replaced With New. Contractor To Modify Existing Roughing To Accommodate The Installation Of New Nurse Sinks | 2 | 0% | 2 | EA | 0 | 0 | 2.4 | 80 | 4.8 | 384 | 384
10 |  |  | Existing Sink To Be Removed And Replaced With New. Contractor To Modify Existing Roughing To Accommodate The Installation Of New Sink | 1 | 0% | 1 | EA | 0 | 0 | 2.4 | 80 | 2.4 | 192 | 192
|  |  | DIV.22 PLUMBING | [11 empty] | 346612.9663
[13 empty] | Labor/Hour | 102
| P101 P102 P103 P104 P105 P106 P107 P201 P301 P302 | 22 05 00 | COMMON WORK RESULTS
|  | 22 05 01 | TRENCHING & BACKFILLING
SAW CUTTING
11 |  |  | Cutting For Below Grade Piping | 200 | 0% | 200 | LF | 1.78 | 356 | 0.034 | 102 | 6.8 | 693.6 | 1049.6
TRENCHING
12 |  |  | Trenching For 3" Dia Sanitary Waste Pipe | 0.41667 | 0% | 0.41667 | CY | 0 | 0 | 0.789 | 102 | 0.32875 | 33.5325 | 33.5325
13 |  |  | Trenching For 4" Dia Sanitary Waste Pipe | 3.1483 | 0% | 3.1483 | CY | 0 | 0 | 0.789 | 102 | 2.484 | 253.3693 | 253.3693
CONCRETE BACKFILLING
14 |  |  | Concrete Trench Filling For 3" Dia Sanitary Waste Pipe | 0.30754 | 5% | 0.32292 | CY | 375 | 121.0945 | 2.4 | 102 | 0.775 | 79.0505 | 200.145
15 |  |  | Concrete Trench Filling For 4" Dia Sanitary Waste Pipe | 2.049 | 5% | 2.1515 | CY | 375 | 806.8074 | 2.4 | 102 | 5.1636 | 526.6839 | 1333.4913
|  | 22 05 23 | VALVES & ACCESSORIES
16 |  |  | 3/4" Dia Ball Valve | 54 | 0% | 54 | EA | 41.2412 | 2227.0248 | 0.355 | 102 | 19.17 | 1955.34 | 4182.3648
17 |  |  | 3/4" Dia Gate Valve | 4 | 0% | 4 | EA | 78.3783 | 313.5132 | 0.726 | 102 | 2.904 | 296.208 | 609.7212
18 |  |  | 3/4" Dia Shut-Off Valve | 4 | 0% | 4 | EA | 54.5 | 218 | 0.66 | 102 | 2.64 | 269.28 | 487.28
19 |  |  | 3/4" Dia Thermostatic Mixing Valve, Manufacturer: Acorn, Model No: St 70 | 26 | 0% | 26 | EA | 136 | 3536 | 0.883 | 102 | 22.958 | 2341.716 | 5877.716
20 |  |  | 1" Dia Ball Valve | 1 | 0% | 1 | EA | 52.3 | 52.3 | 0.36 | 102 | 0.36 | 36.72 | 89.02
21 |  |  | 1-1/2" Dia Ball Valve | 20 | 0% | 20 | EA | 75.6 | 1512 | 0.36 | 102 | 7.2 | 734.4 | 2246.4
22 |  |  | 2-1/2" Dia Ball Valve | 1 | 0% | 1 | EA | 146.5 | 146.5 | 0.36 | 102 | 0.36 | 36.72 | 183.22
23 |  |  | 4" Dia Blackwater Check Valve | 1 | 0% | 1 | EA | 380 | 380 | 2 | 102 | 2 | 204 | 584
24 |  |  | 3/4" Dia Hose Bibb | 5 | 0% | 5 | EA | 114.5 | 572.5 | 1 | 102 | 5 | 510 | 1082.5
25 |  |  | 1" Dia Hose Bibb | 1 | 0% | 1 | EA | 143 | 143 | 1 | 102 | 1 | 102 | 245
26 |  |  | 2-1/2" Dia Hose Bibb | 1 | 0% | 1 | EA | 202.43 | 202.43 | 1 | 102 | 1 | 102 | 304.43
27 |  |  | Wha, 3/4" Dia Water Hammer Arrestor | 57 | 0% | 57 | EA | 130 | 7410 | 1.21 | 102 | 68.97 | 7034.94 | 14444.94
28 |  |  | Wha, 1-1/2" Dia Water Hammer Arrestor | 20 | 0% | 20 | EA | 224.3 | 4486 | 1.21 | 102 | 24.2 | 2468.4 | 6954.4
|  | 22 05 29 | HANGERS AND SUPPORTS
Clevis Hanger For 3/4" Water Pipes @ 8' O.C.
29 |  |  | 3/8" Dia Threaded Hanger Rod | 35 | 0% | 35 | EA | 12.4524 | 435.8354 | 0.123 | 102 | 4.305 | 439.11 | 874.9454
30 |  |  | Concrete Anchor Hilti-Kwick Bolt, Series Hdi | 35 | 0% | 35 | EA | 46.7 | 1634.5 | 0.34 | 102 | 11.9 | 1213.8 | 2848.3
31 |  |  | Coupler | 35 | 0% | 35 | EA | 22.4 | 784 | 0.24 | 102 | 8.4 | 856.8 | 1640.8
Clevis Hanger For 1" Water Pipes @ 8' O.C.
32 |  |  | 3/8" Dia Threaded Hanger Rod | 10 | 0% | 10 | EA | 12.4524 | 124.5244 | 0.123 | 102 | 1.23 | 125.46 | 249.9844
33 |  |  | Concrete Anchor Hilti-Kwick Bolt, Series Hdi | 10 | 0% | 10 | EA | 46.7 | 467 | 0.34 | 102 | 3.4 | 346.8 | 813.8
34 |  |  | Coupler | 10 | 0% | 10 | EA | 22.4 | 224 | 0.24 | 102 | 2.4 | 244.8 | 468.8
Clevis Hanger For 1-1/2" Water Pipes @ 10' O.C.
35 |  |  | 3/8" Dia Threaded Hanger Rod | 6 | 0% | 6 | EA | 12.4524 | 74.7146 | 0.123 | 102 | 0.738 | 75.276 | 149.9906
36 |  |  | Concrete Anchor Hilti-Kwick Bolt, Series Hdi | 6 | 0% | 6 | EA | 46.7 | 280.2 | 0.34 | 102 | 2.04 | 208.08 | 488.28
37 |  |  | Coupler | 6 | 0% | 6 | EA | 22.4 | 134.4 | 0.24 | 102 | 1.44 | 146.88 | 281.28
Clevis Hanger For 2-1/2" Water Pipes @ 12' O.C.
38 |  |  | 3/8" Dia Threaded Hanger Rod | 4 | 0% | 4 | EA | 12.4524 | 49.8098 | 0.123 | 102 | 0.492 | 50.184 | 99.9938
39 |  |  | Concrete Anchor Hilti-Kwick Bolt, Series Hdi | 4 | 0% | 4 | EA | 46.7 | 186.8 | 0.34 | 102 | 1.36 | 138.72 | 325.52
40 |  |  | Coupler | 4 | 0% | 4 | EA | 22.4 | 89.6 | 0.24 | 102 | 0.96 | 97.92 | 187.52
Clevis Hanger For 2" Sanitary Pipes @ 12' O.C. With 0.5 Hrs To Install
41 |  |  | 3/8" Dia Threaded Hanger Rod | 18 | 0% | 18 | EA | 12.4524 | 224.1439 | 0.123 | 102 | 2.214 | 225.828 | 449.9719
42 |  |  | Concrete Anchor Hilti-Kwick Bolt, Series Hdi | 18 | 0% | 18 | EA | 46.7 | 840.6 | 0.34 | 102 | 6.12 | 624.24 | 1464.84
43 |  |  | Coupler | 18 | 0% | 18 | EA | 22.4 | 403.2 | 0.24 | 102 | 4.32 | 440.64 | 843.84
Clevis Hanger For 3" Sanitary Pipes @ 12' O.C. With 0.5 Hrs To Install
44 |  |  | 3/8" Dia Threaded Hanger Rod | 16 | 0% | 16 | EA | 12.4524 | 199.239 | 0.123 | 102 | 1.968 | 200.736 | 399.975
45 |  |  | Concrete Anchor Hilti-Kwick Bolt, Series Hdi | 16 | 0% | 16 | EA | 46.7 | 747.2 | 0.34 | 102 | 5.44 | 554.88 | 1302.08
46 |  |  | Coupler | 16 | 0% | 16 | EA | 22.4 | 358.4 | 0.24 | 102 | 3.84 | 391.68 | 750.08
|  | 22 05 76 | DRAINAGE CLEANOUTS
47 |  |  | Co, 2" Dia Wall Cleanout | 2 | 0% | 2 | EA | 289 | 578 | 3.5 | 102 | 7 | 714 | 1292
48 |  |  | Wco, 2" Dia Wall Cleanout | 5 | 0% | 5 | EA | 289 | 1445 | 3.5 | 102 | 17.5 | 1785 | 3230
49 |  |  | Wco, 2" Dia Wall Cleanout | 5 | 0% | 5 | EA | 289 | 1445 | 3.5 | 102 | 17.5 | 1785 | 3230
|  | 22 07 00 | PLUMBING INSULATION
|  | 22 07 19 | PIPING INSULATION
50 |  |  | Flexible Closed-Cell Piping Insulation For 3/4" Water Piping | 79.5521 | 10% | 87.5073 | SF | 3.4795 | 304.4797 | 0.04 | 102 | 3.5003 | 357.0299 | 661.5096
51 |  |  | Flexible Closed-Cell Piping Insulation For 1" Water Piping | 41.904 | 10% | 46.0944 | SF | 3.4795 | 160.3844 | 0.04 | 102 | 1.8438 | 188.0652 | 348.4495
52 |  |  | Flexible Closed-Cell Piping Insulation For 1-1/2" Water Piping | 64.8203 | 10% | 71.3023 | SF | 3.4795 | 248.0946 | 0.04 | 102 | 2.8521 | 290.9133 | 539.0078
53 |  |  | 1-1/2" Flexible Closed-Cell Piping Insulation For 2-1/2" Water Piping | 62.2012 | 10% | 68.4214 | SF | 3.4795 | 238.0705 | 0.04 | 102 | 2.7369 | 279.1592 | 517.2297
54 |  |  | Fiberglass Piping Insulation For 3/4" Water Return Pipe | 48.1241 | 10% | 52.9365 | SF | 3.4795 | 184.1914 | 0.04 | 102 | 2.1175 | 215.9811 | 400.1725
|  | 22 10 00 | PLUMBING PIPING
|  | 22 10 50 | PLUMBING PIPES & TUBES
DOMESTIC WATER
55 |  |  | 3/4" Dia Elbow Joint | 165 | 0% | 165 | EA | 42.3 | 6979.5 | 0.32 | 102 | 52.8 | 5385.6 | 12365.1
56 |  |  | 3/4" Dia Tee Joint | 11 | 0% | 11 | EA | 36.5 | 401.5 | 0.28 | 102 | 3.08 | 314.16 | 715.66
57 |  |  | 3/4" X 3/4" X 1" Tee Joint | 1 | 0% | 1 | EA | 64.5645 | 64.5645 | 0.44465 | 102 | 0.44465 | 45.3543 | 109.9188
58 |  |  | 1" Dia Elbow Joint | 3 | 0% | 3 | EA | 64.3643 | 193.0929 | 0.6 | 102 | 1.8 | 183.6 | 376.6929
59 |  |  | 1" X 3/4" X 1" Tee Joint | 6 | 0% | 6 | EA | 78 | 468 | 0.82 | 102 | 4.92 | 501.84 | 969.84
60 |  |  | 1" X 3/4" X 1" Tee Joint | 3 | 0% | 3 | EA | 78 | 234 | 0.82 | 102 | 2.46 | 250.92 | 484.92
61 |  |  | 1-1/2" Dia Elbow Joint | 23 | 0% | 23 | EA | 72.55 | 1668.65 | 0.6 | 102 | 13.8 | 1407.6 | 3076.25
62 |  |  | 1-1/2" Dia Tee Joint | 6 | 0% | 6 | EA | 64.5 | 387 | 0.54 | 102 | 3.24 | 330.48 | 717.48
63 |  |  | 1-1/2" X 3/4" X 1-1/2" Tee Joint | 7 | 0% | 7 | EA | 120 | 840 | 0.88 | 102 | 6.16 | 628.32 | 1468.32
64 |  |  | 2-1/2" Dia Elbow Joint | 2 | 0% | 2 | EA | 89.4 | 178.8 | 0.88 | 102 | 1.76 | 179.52 | 358.32
65 |  |  | 2-1/2" X 3/4" X 1-1/2" Tee Joint | 1 | 0% | 1 | EA | 147.6 | 147.6 | 1.1 | 102 | 1.1 | 112.2 | 259.8
66 |  |  | 2-1/2" X 3/4" X 2-1/2" Tee Joint | 3 | 0% | 3 | EA | 147.6 | 442.8 | 1.1 | 102 | 3.3 | 336.6 | 779.4
67 |  |  | 2-1/2" X 1-1/2" X 2-1/2" Tee Joint | 3 | 0% | 3 | EA | 147.6 | 442.8 | 1.1 | 102 | 3.3 | 336.6 | 779.4
SANITARY SEWER
68 |  |  | 2" Dia Elbow Joint | 55 | 0% | 55 | EA | 42.3423 | 2328.8265 | 0.58 | 102 | 31.9 | 3253.8 | 5582.6265
69 |  |  | 2" Dia Elbow Joint, 45* | 63 | 0% | 63 | EA | 42.3423 | 2667.5649 | 0.58 | 102 | 36.54 | 3727.08 | 6394.6449
70 |  |  | 2" Dia Pee Trap | 46 | 0% | 46 | EA | 72.072 | 3315.312 | 0.8 | 102 | 36.8 | 3753.6 | 7068.912
71 |  |  | 2" Dia Tee Joint | 18 | 0% | 18 | EA | 33.2332 | 598.1976 | 0.476 | 102 | 8.568 | 873.936 | 1472.1336
72 |  |  | 2" Dia Wye Combination 45* Elbow Joint | 15 | 0% | 15 | EA | 62.4624 | 936.936 | 0.6 | 102 | 9 | 918 | 1854.936
73 |  |  | 2" Dia Wye Joint | 46 | 0% | 46 | EA | 62.4624 | 2873.2704 | 0.6 | 102 | 27.6 | 2815.2 | 5688.4704
74 |  |  | 3" Dia Elbow Joint | 4 | 0% | 4 | EA | 72.4 | 289.6 | 0.8 | 102 | 3.2 | 326.4 | 616
75 |  |  | 3" Dia Elbow Joint, 45* | 8 | 0% | 8 | EA | 72.4 | 579.2 | 0.8 | 102 | 6.4 | 652.8 | 1232
76 |  |  | 3" Dia Pee Trap | 2 | 0% | 2 | EA | 89.23 | 178.46 | 0.8 | 102 | 1.6 | 163.2 | 341.66
77 |  |  | 3" Dia Running Trap | 1 | 0% | 1 | EA | 102.33 | 102.33 | 0.883 | 102 | 0.883 | 90.066 | 192.396
78 |  |  | 3" Dia Tee Joint | 2 | 0% | 2 | EA | 68.3 | 136.6 | 0.655 | 102 | 1.31 | 133.62 | 270.22
79 |  |  | 3" Dia Wye Combination 45* Elbow Joint | 3 | 0% | 3 | EA | 132.3 | 396.9 | 1.12 | 102 | 3.36 | 342.72 | 739.62
80 |  |  | 3" Dia Wye Joint | 1 | 0% | 1 | EA | 132.3 | 132.3 | 1.12 | 102 | 1.12 | 114.24 | 246.54
81 |  |  | 3" X 2" X 3" Tee Joint | 4 | 0% | 4 | EA | 148.5 | 594 | 1.033 | 102 | 4.132 | 421.464 | 1015.464
82 |  |  | 3" X 2" X 3" Wye Combination 45* Elbow Joint | 5 | 0% | 5 | EA | 148.5 | 742.5 | 1.033 | 102 | 5.165 | 526.83 | 1269.33
83 |  |  | 3" X 3" X 4" Tee Joint | 1 | 0% | 1 | EA | 167 | 167 | 1.033 | 102 | 1.033 | 105.366 | 272.366
84 |  |  | 4" Dia Elbow Joint, 45* | 15 | 0% | 15 | EA | 72.072 | 1081.08 | 0.624 | 102 | 9.36 | 954.72 | 2035.8
85 |  |  | 4" Dia Wye Combination 45* Elbow Joint | 13 | 0% | 13 | EA | 72.072 | 936.936 | 0.624 | 102 | 8.112 | 827.424 | 1764.36
86 |  |  | 4" Dia Wye Joint | 2 | 0% | 2 | EA | 72.072 | 144.144 | 0.624 | 102 | 1.248 | 127.296 | 271.44
87 |  |  | 4" X 2" X 4" Tee Joint | 13 | 0% | 13 | EA | 147.3472 | 1915.5136 | 1.12 | 102 | 14.56 | 1485.12 | 3400.6336
88 |  |  | 4" X 2" X 4" Wye Combination 45* Elbow Joint | 6 | 0% | 6 | EA | 147.3472 | 884.0832 | 1.12 | 102 | 6.72 | 685.44 | 1569.5232
89 |  |  | 4" X 2" X 4" Wye Joint | 2 | 0% | 2 | EA | 147.3472 | 294.6944 | 1.12 | 102 | 2.24 | 228.48 | 523.1744
90 |  |  | 4" X 3" X 4" Tee Joint | 1 | 0% | 1 | EA | 178.2 | 178.2 | 1.02 | 102 | 1.02 | 104.04 | 282.24
91 |  |  | 4" X 3" X 4" Wye Joint | 3 | 0% | 3 | EA | 178.2 | 534.6 | 1.02 | 102 | 3.06 | 312.12 | 846.72
92 |  |  | 4" X 4" X 2" X 4" Wye Cross Joint | 4 | 0% | 4 | EA | 188 | 752 | 1.02 | 102 | 4.08 | 416.16 | 1168.16
STORM DRAIN
93 |  |  | 2" Dia Elbow Joint, 45* | 6 | 0% | 6 | EA | 42.3423 | 254.0538 | 0.58 | 102 | 3.48 | 354.96 | 609.0138
94 |  |  | 2" Dia Wye Joint | 2 | 0% | 2 | EA | 62.4624 | 124.9248 | 0.6 | 102 | 1.2 | 122.4 | 247.3248
|  | 22 11 00 | DOMESTIC WATER (TYPE L Cu PIPING)
COLD WATER (ABOVE GRADE)
95 |  |  | 3/4" Dia Cold Water Pipe | 220 | 10% | 242 | LF | 5.8278 | 1410.3329 | 0.12 | 102 | 29.04 | 2962.08 | 4372.4129
96 |  |  | 1" Dia Cold Water Pipe | 75 | 10% | 82.5 | LF | 7.8879 | 650.7501 | 0.14 | 102 | 11.55 | 1178.1 | 1828.8501
97 |  |  | 1-1/2" Dia Cold Water Pipe | 165 | 10% | 181.5 | LF | 16.88 | 3063.72 | 0.2 | 102 | 36.3 | 3702.6 | 6766.32
98 |  |  | 2-1/2" Dia Cold Water Pipe | 95 | 10% | 104.5 | LF | 27.387 | 2861.9415 | 0.3 | 102 | 31.35 | 3197.7 | 6059.6415
HOT WATER (ABOVE GRADE)
99 |  |  | 3/4" Dia Hot Water Pipe | 185 | 10% | 203.5 | LF | 5.8278 | 1185.9618 | 0.12 | 102 | 24.42 | 2490.84 | 3676.8018
100 |  |  | 1" Dia Hot Water Pipe | 85 | 10% | 93.5 | LF | 7.8879 | 737.5168 | 0.14 | 102 | 13.09 | 1335.18 | 2072.6968
HOT WATER RETURN (ABOVE GRADE)
101 |  |  | 3/4" Dia Hot Water Return Pipe | 245 | 10% | 269.5 | LF | 5.8278 | 1570.598 | 0.12 | 102 | 32.34 | 3298.68 | 4869.278
|  | 22 13 00 | SANITARY SEWER (HUBLESS CAST IRON & SCHEDULE 40 PVC PIPING)
WASTE (BELOW GRADE)
102 |  |  | 3" Dia Sanitary Waste Pipe | 15 | 10% | 16.5 | LF | 29.3593 | 484.4289 | 0.32 | 102 | 5.28 | 538.56 | 1022.9889
103 |  |  | 4" Dia Sanitary Waste Pipe | 85 | 10% | 93.5 | LF | 36.7367 | 3434.8815 | 0.344 | 102 | 32.164 | 3280.728 | 6715.6094
WASTE (BELOW FINISHED FLOOR)
104 |  |  | 2" Dia Sanitary Waste Pipe | 50 | 10% | 55 | LF | 25.3753 | 1395.6443 | 0.28 | 102 | 15.4 | 1570.8 | 2966.4443
105 |  |  | 3" Dia Sanitary Waste Pipe | 60 | 10% | 66 | LF | 29.3593 | 1937.7158 | 0.32 | 102 | 21.12 | 2154.24 | 4091.9558
106 |  |  | 4" Dia Sanitary Waste Pipe | 90 | 10% | 99 | LF | 36.7367 | 3636.9333 | 0.344 | 102 | 34.056 | 3473.712 | 7110.6453
WASTE (ABOVE GRADE)
107 |  |  | 2" Dia Sanitary Waste Pipe | 80 | 10% | 88 | LF | 25.3753 | 2233.0308 | 0.28 | 102 | 24.64 | 2513.28 | 4746.3108
VENT (ABOVE GRADE)
108 |  |  | 1-1/2" Dia Vent Pipe | 5 | 10% | 5.5 | LF | 16.5165 | 90.8407 | 0.24 | 102 | 1.32 | 134.64 | 225.4807
109 |  |  | 2" Dia Vent Pipe | 560 | 10% | 616 | LF | 25.3753 | 15631.2156 | 0.28 | 102 | 172.48 | 17592.96 | 33224.1756
|  | 22 13 19 | DRAINS
110 |  |  | Fd, 3" Dia Floor Drain | 2 | 0% | 2 | EA | 387 | 774 | 3.5 | 102 | 7 | 714 | 1488
|  | 22 14 00 | STORM DRAINAGE (HUBLESS CAST IRON PIPING)
STORM (BELOW GRADE)
111 |  |  | 2" Dia Pump Drain Pipe | 50 | 10% | 55 | LF | 25.3753 | 1395.6443 | 0.28 | 102 | 15.4 | 1570.8 | 2966.4443
112 |  |  | 3" Dia Storm Drain Pipe | 15 | 10% | 16.5 | LF | 29.3593 | 484.4289 | 0.32 | 102 | 5.28 | 538.56 | 1022.9889
STORM (ABOVE GRADE)
113 |  |  | 2" Dia Pump Drain Pipe | 20 | 10% | 22 | LF | 25.3753 | 558.2577 | 0.28 | 102 | 6.16 | 628.32 | 1186.5777
|  | 22 14 26 | DRAINS
114 |  |  | 3" Dia Trench Drain | 2 | 0% | 2 | EA | 465 | 930 | 3.56 | 102 | 7.12 | 726.24 | 1656.24
|  | 22 14 29 | SUMP PUMP
115 |  |  | Epsp-1, Elevator Pit Sump Pump, Manufacturer: Weil, Model No: 1421, 50 Gpm, 3600 Rpm, 2' X 2' X 2' Concrete Pit | 1 | 0% | 1 | EA | 2676 | 2676 | 4.3 | 102 | 4.3 | 438.6 | 3114.6
116 |  |  | Check Valve | 1 | 0% | 1 | EA | 76.5 | 76.5 | 0.65 | 102 | 0.65 | 66.3 | 142.8
117 |  |  | Float Switch | 2 | 0% | 2 | EA | 212 | 424 | 0.8 | 102 | 1.6 | 163.2 | 587.2
118 |  |  | Gate Valve | 1 | 0% | 1 | EA | 112 | 112 | 0.656 | 102 | 0.656 | 66.912 | 178.912
119 |  |  | Pipe Support | 2 | 0% | 2 | EA | 24.3 | 48.6 | 0.2 | 102 | 0.4 | 40.8 | 89.4
120 |  |  | Power Cord, Weatherproof | 1 | 0% | 1 | EA | 24.3 | 24.3 | 0.3 | 102 | 0.3 | 30.6 | 54.9
121 |  |  | Sump Pit High Level Alarm Sensor | 1 | 0% | 1 | EA | 65 | 65 | 1 | 102 | 1 | 102 | 167
122 |  |  | Union | 1 | 0% | 1 | EA | 43.4 | 43.4 | 0.45 | 102 | 0.45 | 45.9 | 89.3
123 |  |  | Sump Pump Control Panel | 1 | 0% | 1 | EA | 767 | 767 | 2 | 102 | 2 | 204 | 971
|  | 22 40 00 | PLUMBING FIXTURES
|  | 22 42 00 | COMMERCIAL PLUMBING FIXTURES
124 |  |  | P-1A, Wall Hung Water Closet With Flush Valve, Barrier Free | 16 | 0% | 16 | EA | 780 | 12480 | 4 | 102 | 64 | 6528 | 19008
125 |  |  | P-2, Urinal With Flush Valve | 5 | 0% | 5 | EA | 645 | 3225 | 2 | 102 | 10 | 1020 | 4245
126 |  |  | P-2A, Urinal With Flush Valve, Barrier Free | 3 | 0% | 3 | EA | 645 | 1935 | 2 | 102 | 6 | 612 | 2547
127 |  |  | P-3A, Floor Mounted Single Lavatory With Faucet, Barrier Free | 16 | 0% | 16 | EA | 1244 | 19904 | 3.89 | 102 | 62.24 | 6348.48 | 26252.48
128 |  |  | P-4A, Classroom Sink With Faucet | 5 | 0% | 5 | EA | 1340 | 6700 | 3.4 | 102 | 17 | 1734 | 8434
129 |  |  | P-5A, Medical Room Sink With Faucet | 2 | 0% | 2 | EA | 1340 | 2680 | 3.4 | 102 | 6.8 | 693.6 | 3373.6
|  | 22 47 00 | DRINKING FOUNTAINS
130 |  |  | P-6, Drinking Fountain | 5 | 0% | 5 | EA | 2433 | 12165 | 4 | 102 | 20 | 2040 | 14205
131 |  |  | P-6A, Drinking Fountain, Barrier Free | 5 | 0% | 5 | EA | 1787 | 8935 | 4 | 102 | 20 | 2040 | 10975
132 |  |  | P-7A, Wall Mounted Drinking Fountain With Bottle Filling Station, Barrier Free | 5 | 0% | 5 | EA | 3655 | 18275 | 4.66 | 102 | 23.3 | 2376.6 | 20651.6
[11 empty] | Total Labor Hrs. | 1463.9125
| Trades Total | [13 empty] | 352606.5663
| Material Tax | [11 empty] | 8.889% |  | 31343.1977
| OH&P | [11 empty] | 25% |  | 88151.6416
| TOTALS | [13 empty] | 472101.4055