Dear developers,

I have some problems using MzMine 2.10 version for processing my data. Below I will describe you my case:

My data:

- Mzmine version 2.10

- Operating systems information: 64 bit; installed memory (RAM) 8.00 GB ; processor intel (R) Core (TM, i7-3770S CPU).

- Windows edition Windows 7 Professional.

- Java SE runtime Environment 8 (jre-8-windows-x64.exe).

- I've only changed the Heap Size at 7830 MB, according to my computer performance.

- I worked on a LC-ESI(orbitrap)MS so I have high resolution files (132 raw files thermo, I've attached just 1 file as example number 1) in MS1 level (Xcalibur version 2.1.1).

Starting processing by MZMine 2.10:

- First step: import files no problem for all 132 files!

- Second step: data set filtering: Crop Filter (retention time 10 to 26 min) no problems for all 132 files!

- Third step: mass detection: centroid (selected noise level 5000) no problems for all 132 files!

- Fouth step: chromatogram builder: min time span 0.0, min heigh 5000; m/z tolerance 0.2 m/z or 20 ppm. This process is very slow but the most important thing is that after processing the first 40 files a task error concerning with a problem with the heap size of Java appears.

I' ve also tried using the targeted peak detection by importing a csv file (see attached number 2) (intensity tolerance 10%; m/z tolerance 0.2 m/z or 20 ppm,; retention time tolerance 2.0 absolute min) but every time i try to apply these parameters to my raw files a task error telling that my files could not be read or they are empty appears...but of course this is not true because I can see their content.

Do I also have to enhance the Heap size total memory of Java? Which could be the most suitable value according to my case?

Thanks for your kind help,

Angela Mari