Mass detection, noise level 50

Chromatogram builder

Min time span: 0.2

Min ht: 100

m/z tolerance: 0.01 or 5 ppm

Deconvolution: Local Min search

Ch threshold: 30%

RT tolerance: 0.1

Min. absolute ht: 150

Top/edge ratio: 2

Peak duration: 0.2-0.4

Deisotopping

m/z tolerance: 0.01 or 5 ppm

RT tolerance: 0.1

Max charge: 2

Most intense

Peak align

m/z tolerance: 0.01 or 5 ppm

wt of m/z: 90

RT tolerance: 0.5